## Slide 1: Surface Construction from 3D Ultrasound Data
CPSC524: Computer Graphics Modelling
Yasmin Halwani
Sara Sheikholeslami
University of British Columbia
Dec. 15, 2014

## Slide 2: Outline
Introduction
Data Generation
Mesh Construction: Marching Cubes
Contour Denoising
Remeshing
Conclusion

## Slide 3: Project Goal

## Slide 4: Introduction
3D US Data Visualization
  Segmentation
  Surface Construction
* Image Source: L.B. Cruz, “Basics on 3D Ultrasound,” Jaypee Journals, vol. 2, no. 4, 2008, pp. 83.
3DUS Data Acquisition Process *
3DUS Image of a Fetus *
Manual
Automatic
3D US Acquisition

## Slide 5: Overall Steps
Prostate Phantom
at RCL
Prostate Phantom
3D US Data
Automatic Segmentation
1. Data Acquisition
2. Image Segmentation
4. Mesh Construction
5. Re-meshing
3. Basic Contour De-noising

## Slide 6: Marching Cubes
Mesh Grid
CubeIndex = v7v6v5v4v3v2v1v0
Edge Table
Triangle Table
Isovalue = 255

## Slide 7: Marching Cubes
edgeTable[256]={ 0x0 , 0x109, 0x203, 0x30a, 0x406, 0x50f, 0x605, 0x70c, 0x80c, 0x905, 0xa0f, 0xb06, 0xc0a, 0xd03, 0xe09, 0xf00, 0x190, 0x99 , 0x393, 0x29a,….}
12-bit elements: determines which edges contain a triangle vertex
triTable[256][16] =
{{-1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1},
{0, 8, 3, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1},
{0, 1, 9, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1, -1},
….}
Determines the triangles orientation within a cube

## Slide 8: Marching Cubes Resolution Effect
56 Slices
113 Slices
30 Slices

## Slide 9: Marching Cubes Output (56 Slices)
Noisy Contours
Filtered Contours
Slice # 6

## Slide 10: Adaptive Re-meshing
Modify a given a 3D mesh to get a
  Better mesh
  Preserve the overall geometry
Use a sequence of local operations
Original
After 7 iterations

## Slide 11: Adaptive Re-meshing
Mesh Refinement:
  If an edge is longer than a set threshold, split it by adding an extra vertex
Original
One round of Refinement

## Slide 12: Adaptive Re-meshing
(2) Mesh Smoothing
  Move vertices ON surface to improve sizing/quality
  Normal error: The difference between the original vertex normals
Original
One round of Smoothing

## Slide 13: Adaptive Re-meshing
(3) Edge Flip
  Given 2 neighboring triangles, flip one diagonal if longer than the other
  Smoothness Error: Difference between the current face normal, and the original vertex normals
Original
One round of Edge-Flip

## Slide 14: Results
The mesh on the surface looks better
But the general geometry hasn’t changed!
Before
After

## Slide 15: Results Analysis
Re-meshing makes the mesh triangles better, but preserves the geometry
The noise in marching cubes distorts the general geometry
Contour de-noising doesn’t solve the problems (makes it better, but doesn’t remove the steps)
Solution: mesh de-noising

## Slide 16: Limitations
Marching Cubes:
Spacing should be manually set (z-axis)
Increasing resolution increases noise
Requires extensive mesh de-noising
Re-meshing
Hard to find good thresholds
The number of Iterations and the sequence of local operations

## Slide 17: Resources and Tools
All phantom 3DUS images are obtained from Robotics and Control Lab, UBC
Chan Vese Active Contours without edges: MATLAB code written by Yue Wu, 2009

## Slide 18: Discussion


## Slide 19: Segmentation & Construction Methods Used
Image Segmentation
  Edge-based segmentation: Marker-Controlled Watershed Method
* Image Source: Y.-H. Wang, “Tutorial: Image Segmentation,” National Taiwan University, Taipei, 2010, pp. 1-36.
** Image Source: Lecture slides on Marching Cubes from CPSC524 - UBC
Watershed segmentation concept*
Contour Extraction
  Snakes/Active Contours
Surface Construction
  Marching Cubes Based on iso-surface value = 255
An example of marching cubes algorithm output**

## Slide 20: Results and analysis
Stradwin Output (Manual Seg.)
MATLAB Output (Automatic Seg.)
Advantages:
1. Smooth surface
2. Accurate data (due to manual segmentation)
Disadvantages:
1. Manual
2. Possible loss of details (refer to figure above)
Advantage:
1. Automatic / Fast
Disadvantage:
1. noisy mesh
(due to noisy contours +
marching cubes)